## Glu GABA-Others
11-3 | [7 empty] | 2020-10-08
Glutamate and GABA for Tissue, Blood and other Samples
|  | Name | Type | Code | QTY | Unit Price (JPY) | Price (JPY) | Remark
Device
| D-1 | HPLC-ECD system | HTEC-510 | 540510 | 1 |  | 0
| D-10 | Autosampler | M-510 | 740100 | 1 |  | 0
| D-12 | Mobile Phase Switching Valve | ELS-500 | 550550 | 1 |  | 0
| D-13 | Data Processor | EPC-710 | 793000 | 1 |  | 0
| D-14 | Computer |  |  | 1 | depends on specs |  | Windows
Column
|  | EICOMPAK Separation Column | FA-3ODS | 680024 | 1 |  | 0 | 3.0φ x 75mm
|  | Prepacked PreColumn 4.0mm | PC-04CA | 681321 | 1 |  | 0 | 4φ x 5mm, for sample
|  | Prepacked PreColumn 4.0mm | PC-04CA | 681421 | 1 |  | 0 | 4φ x 5mm, for mobile phase
Electrode
|  | Glassy Carbon Working Electrode | WE-GC | 100020 | 1 |  | 0
|  | Gasket 25 μm | GS-25P | 100085 | 1 |  | 0 | 3pcs/pkg
Mentenance Kit
|  | Check Valve Assy (Inlet) | HT-IV | 550570 | 2 |  | 0
|  | Check Valve Assy (Outlet) | HT-OV | 550571 | 2 |  | 0
|  | Precolumn Suction Adapter | PA-05 | 680700 | 1 |  | 0
|  | Spanner 8-10mm | SM0810 | 900056 | 2 |  | 0
|  |  |  | Total |  |  | 0
Glu Glutamic acid
GABA Gamma-Aminobutyric acid
D-13
D-12
D-1
D-14
D-10